TECHNICAL SPECIFICATION FOR NEW ELEVATOR

* Please mark x in    for item required and fill in every items to avoid any mistakes.

| Client Name: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Mobile No: |  |  |  |  |  |  |
| E-mail Address: |  |  |  |  |  |  |
| Contract No: |  |  |  |  |  |  |
| Quotation No: |  |  |  |  |  |  |
| Project code: |  |  |  |  |  |  |
| Name of project: |  |  |  |  |  |  |
| Installation site: |  |  |  |  |  |  |
| Unit Quantity: |  | 1 |  |  |  |  |
| Ⅰ Basic specification: |  |  |  |  |  |  |
| 1 | Load Capacity (kg) (required) | 630 800 1000 |  |  |  |  |
| 2 | Speed (m/s) (required) | 1.00 1.50 1.75 |  |  |  |  |
| 3 | Drive | VVVF Closed Loop |  |  |  |  |
| 4 | Car Group | Simplex |  |  | Duplex |  |
|  |  | 3 Car Group |  |  |  |  |
| 5 | Motion control | Full Collective |  |  |  |  |
| 6 | Floors / Stops / Openings (required) | Floors / Stops / Openings |  |  |  |  |
| 7 | Serving floors (required) |  |  |  |  |  |
| 8 | Car Entrances | 1 |  |  |  |  |
| 10 | Power voltage: | 380V |  |  | 400V |  |
| 11 | Lighting voltage: | 220V |  | 230V |  | V |
| 12 | Frequency: | 50HZ |  |  |  |  |
| 13 | Machine room location (required) | Above |  |  | Machine Roomless |  |
| 14 | Counter-weight/Piston | Fillers weight |  |  |  |  |
| 15 | Safety gear | Progressive for car |  |  |  |  |
| II Shaft: |  |  |  |  |  |  |
| 1 | Shaft construction | Concrete |  | Brick |  | Steel |
| 2 | Counter-Weight Location | Rear |  | Side |  |  |
| 3 | Clear dimensions (required) | W mm * D mm |  |  |  |  |
| 4 | Travel (required) | M |  |  |  |  |
| 5 | Pit depth (required) | mm |  |  |  |  |
| 6 | Overhead (required) | mm |  |  |  |  |
| 7 | Floor to floor distance | ≥2700 mm |  |  |  |  |
| III Car: |  |  |  |  |  |  |
| 1 | Car logo on COP | Provide |  |  |  |  |
| 2 | Car Dimensions (mm*mm) *Car size might be slightly adjusted according to Hoistway Dimension. | 1100*1400 (630 KG) |  | 1100*1700 (800 KG) |  | 1100*2100 (1000 KG) |
|  |  | 1350*1400 (800 KG) |  | 1600*1400 (1000 KG) |  | * |
| 3 | Car clear height (mm) | 2200 |  | 2300 |  |  |
| 4 | Car Ceiling | No provide |  | Provide ( Type:TO BE CHOSEN LATER ) |  |  |
| 5 | Lighting | No provide |  | Fluorescent |  |  |
| 6 | Car Flooring | No provide |  | Provide ( Type:PVC (TO BE CHOSEN LATER) ) |  |  |
| 7 | Handrail | No provide |  | Provide ( Side/s) |  |  |
| 8 | Mirror | No provide |  | Provide ( Type: ) |  |  |
| 9 | Car wall finishing | Paint steel ( Color: ) |  |  |  |  |
|  |  | Full 304 HL Stainless Steel (standard) |  |  | Full Mirror stainless steel |  |
|  |  | Laminated tempered glass with 304 HL Stainless Steel frame on |  |  |  |  |
|  |  | Etched stainless steel（Code:PLEASE CHECK ETCHED DESIGNS FOR OPTIONS） |  |  |  |  |
|  |  | Custom Design (Requirements : Ex. Hairline St/St Side wall + Mirror St/st Rearwall ) |  |  |  |  |
| IV Car Operate Panel: |  |  |  |  |  |  |
| 1 | Door close button | Provide |  |  | No provide |  |
| 2 | Position direction indicator | Dot Matrix |  |  | LCD |  |
| V Car Door: |  |  |  |  |  |  |
| 1 | Door operator | VVVF |  |  |  |  |
| 2 | Door safety (Light curtain) | No Provide |  |  | Provide |  |
| 3 | Door finishing | Paint steel ( Color: ) |  |  |  |  |
|  |  | 304 HL Stainless Steel (standard) |  |  | Mirror stainless steel |  |
|  |  | Laminated tempered glass with Hairline Stainless Steel frame |  |  |  |  |
|  |  | Etched stainless steel（Model No.: ） |  |  |  |  |
| VI Landing Door: |  |  |  |  |  |  |
| 1 | Door type | Center Opening |  |  | Side Opening |  |
| 2 | Dimensions (mm*mm) *Door Opening Dimension might be slightly adjusted according to Hoistway Width. | 800*2100 |  |  | 900*2100 |  |
|  |  | * |  |  |  |  |
| 3 | Panels at main floor | Paint steel ( Color: ) |  |  |  |  |
|  |  | 304 HL Stainless Steel (standard) |  |  | Mirror stainless steel |  |
|  |  | Laminated tempered glass with Hairline Stainless Steel frame |  |  |  |  |
|  |  | Etched stainless steel（Picture: ） |  |  |  |  |
| 4 | panels at other floors | Paint steel ( Color: ) |  |  |  |  |
|  |  | 304 HL Stainless Steel (standard) |  |  | Mirror stainless steel |  |
|  |  | Laminated tempered glass with Hairline Stainless Steel frame |  |  |  |  |
|  |  | Etched stainless steel（Picture: ） |  |  |  |  |
| 5 | Jamb at main floor | Narrow |  | Wide |  |  |
|  |  | Hairline ST/ST |  | Mirror ST/ST |  | Paint steel ( Color: ) |
| 6 | Jamb at other floors | Narrow |  | Wide |  |  |
|  |  | Hairline ST/ST |  | Mirror ST/ST |  | Paint steel ( Color: ) |
| VII Landing Fixtures: |  |  |  |  |  |  |
| 1 | Fireman switch(separate) | No provide |  |  | Provide in 1 floor |  |
| 2 | Parking key switch | No provide |  |  | Provide in 1 floor |  |
| 3 | Position direction indicator | Dot Matrix |  |  |  |  |
| 4 | Indicator position | Mix with calling button (standard) |  |  | Above doors |  |
| 5 | HB&HI Group control type | 2 in 1 (standard) |  |  | Separate |  |
| VIII Standard Function: |  |  |  |  |  |  |
| Adjustable open door time |  |  | Anti- reverse protection |  |  |  |
| Attendant service |  |  | Automatic Parking |  |  |  |
| Automatically / manually control fan and lighting in car |  |  | Car-call cancelled |  |  |  |
| Car Alarm Ring |  |  | Call cancelled when direction reversed |  |  |  |
| Close door repeatedly |  |  | Car location adjusted automatically |  |  |  |
| Contact adhered protection |  |  | Door open local floor |  |  |  |
| Door protective device |  |  | Emergency illumination in car |  |  |  |
| Encoder fault protection |  |  | Fault information recorded |  |  |  |
| Final terminal protection |  |  | Floor distance data adjusted automatically |  |  |  |
| Full Collective Operation |  |  | Hoistway parameter self-learning |  |  |  |
| Interphone |  |  | Lattice display screen |  |  |  |
| Level for self-helping |  |  | Motor parameter self-learning |  |  |  |
| Non-stop with full load |  |  | Open/close automatically |  |  |  |
| Open / close button |  |  | Over current and Over load protection |  |  |  |
| Over load protection |  |  | Over speed protection (up & down direction) |  |  |  |
| Over voltage protection |  |  | Parking Shutdown |  |  |  |
| Random floor number setting |  |  | Re-running automatically when elevator is re-powered |  |  |  |
| Remote monitor interface |  |  | Roll display of running direction |  |  |  |
| Running time protection |  |  | Running timer and counter |  |  |  |
| Service floor setting |  |  | Top of car inspection and machine room emergency inspection |  |  |  |
| IX Option Function: |  |  |  |  |  |  |
| Anti-nuisance function |  |  | Arrival gong |  |  |  |
| Auxiliary COP (optional for wide car) |  |  | CCTV cable (from top of car to machine room) |  |  |  |
| Disability option |  |  | Fireman Service Phase I |  |  |  |
| Front-back door service |  |  | Handrail in car |  |  |  |
| IC card |  |  | Independent running |  |  |  |
| LCD in COP |  |  | Motor thermal protection |  |  |  |
| Parallel running/Group running |  |  | Remote monitor system |  |  |  |
| Rescue operation on during power failure (ARD) 3P SERIES |  |  | Separated landing display |  |  |  |
| Sound player (only in English) |  |  |  |  |  |  |
| Ⅳ Additional item (Remarks): |  |  |  |  |  |  |